## BOQ
COMMERCIAL BID
Sub: Tender for " CONSTRUCTION OF CENTRALISED STORES HANGAR AND ALLIED WORKS IN EPC MODE (DESIGN AND BUILD BASIS) IN BEML REGIONAL OFFICE PREMISES, BILASPUR, CHATTISGARH"
Tender Ref:
Sl. No. | Description | Unit | Qty | Rate (Rs.) | Amount (Rs.)
1 | Receiving, holding, packing, forwarding stores-Approx. size- 280Ft x 200Ft. Approx ht stores upto gable end approx.14.50 M (approx.47 Ft), FFL 4.5Ft from Road/hardstanding level with 05 sensor based double leaf vertical sliding shutters with dust control screens for each, 01 emergency exit. Ramp+ steps, required electrical works for shed, fire fighting (water sprinkler system, cable ducts, hard standing to withstand 50T load inside hangar, hydraulic loading/unloading platforms-04 nos approx. 10 Ft x 12 Ft each. The hangar to include Reception area for Office approx. 100Ft x 20Ft, Office area approx. 100Ft x 20Ft in Mezanine Ground+ First, interior works like flooring, panelling, false ceiling, Airconditioning for the Office & reception, Ladies and Gents toilets in Office etc. | Job | 1
2 | Lean to roof shed- Approx. size-280Ft x 20Ft.for the new proposed stores hangar with hard standing to withstand 50T distributed load and electrical lighting etc
3 | Covered yard-Approx. size-100Ft x 80Ft.
4 | Security room- approx-20Ft x 20Ft
5 | Security room (For regional office entry)-approx.10Ft x 10Ft
6 | Rain water drainage system (RCC)
7 | Roads & hardstanding in open area to withstand 50 ton capacity / load vehicle movement- Approx.30,000 Sqft.
8 | Soling of required thickness with WBM, filling with gravel, morrum/red earth including rolling with power roller for consolidation to achieve proper gradient and camber-Approx.30,000 Sqft.
9 | New entrance security gates (01 sliding gate +1 wicket gate + manual operated openable gate) with LED sign boards and sign boards for the new ware house
10 | Sump 25000 litres capacity
11 | REQUIRED ADDITIONAL ELECTRICAL POWER / LOAD SANCTION, NEW TRANSFORMER:, DISTRIBUTION PANELS AND CABLES
12 | Dismantling of dilapidated / old structures and carting away debris
13 | Providing chainlink fencing for a height of 6Ft & length of 1100Ft approximately with 12 Ft wide gates at two locations
| TOTAL COST INCLUSIVE OF ALL TAXES AND DUTIES |  |  | Rs.
AMOUNT IN WORDS: RUPEES